## CLEAN DB - edit here
Target Species | Specificity (CD) | Specificity (non-CD) | Clone | Host Species | Isotype (Heavy Chain) | Isotype (Light Chain) | Isotype Clone | Multiple Model Systems or Strains (Y/N) | Stim/Unstim (Y/N) | Stimulated Model System or Strain | Stim Reagent | Stim Time (hours) | Sample Type | Sample Species | Sample Strain/Sub-Type | BV421 SI | BV421 Optimal | Optimal Units | Positive1_Name | %Positive1 | Positive2_Name | %Positive2 | Positive3_Name | %Positive3 | Negative1_Name | %Negative1 | Negative2_Name | %Negative2 | Negative3_Name | %Negative3 | Co-Stain (Y/N) | Co-stain Specificity | Co-stain Clone | Co-stain Concentration (ug/test) | Suggested Co-stain Fluorochrome | Shelf-Life (days) | Cell Pop for Shelf-Life | Optional Co-stain for Stability? (Y/N) | Gating Method | Gating Argument | Notes | TDS
human | CD64 |  | 10.1 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 10.2 | 1.0 | ug/test | LWB-M | 75-100 | LWB-G | 0-100 |  |  | LWB-L | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
rat | CD161a | NKR-P1A | 10/78 | Mouse | IgG1 | kappa | MOPC-31C or MOPC-21 | N | N | NA | NA | NA | Spleen | Rat | Lewis | 35.2 | 0.03 | ug/test | Pop | 5-15 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | use Pharm Lyse and use Fc block | no figure
mouse | CD45.2 |  | 104 | Mouse | IgG2a | kappa | G155-178 | Y | N | NA | NA | NA | Spleen | Mouse | B6, SJL | 153 | 0.125 | ug/test | B6 | 95-100 |  |  |  |  | SJL | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | use Pharm Lyse, use FC block | same as model system
human | CD21 | CR2 | 1048 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 56.5 | 0.25 | ug/test | LWB-L | 5-10 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD117 | c-kit | 104D2 | Mouse | IgG1 | kappa | X40 | Y | Y | TF-1 | GM-CSF | see notes | Cell line, LWB | Human | TF-1 | 41.6 | 0.25 | ug/test | TF-1 | 90-100 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-15 | LWB-G | 0-5 | N | NA | NA | NA | NA | [5 empty] | TF-1 needs to be cultured with human GM-CSF. Refer to the cell line database for detail information. | same as model system
human | CD196 | CCR6 | 11A9 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 60 | 0.5 | ug/test | LWB-L | 10-50 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | use Pharm Lyse not FACS Lyse | same as model system
human | CD268 | BAFF Receptor | 11C1 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 72 | 0.125 | ug/test | LWB-L | 5-25 |  |  |  |  | LWB-M | 0-5 | LWB-G | 0-5 |  |  | N | NA | NA | NA | NA | [5 empty] | no clone model system data details found, FACS Lyse listed in protocol
human |  | gamma delta TCR, Gma Dta TCR | 11F2 | Mouse | IgG1 | kappa | MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 90.8 | 0.5 | ug/test | LWB-L | 1-15 |  |  |  |  | LWB-M | no spec | LWB-G | no spec |  |  | Y | CD3 | UCHT1 | 0.06 | APC | [5 empty] | SJ clone , No QM plan. Besides single color staining to determine optimal concentration, 2-color vs CD3(UCHT1) is also required to confirm the specificity. ALL gamma/delta TCR+ cells must be CD3+. It is expected to see two positive peaks on some donors (refer to the letter scanned with batch 88459 for the reason). Also, for the two color samples, mix the two antibodies first, then add blood. Donor #9 & 225 are good donors; collect 30,000-50,000 events FACSlyse was used
human | CD282 | TLR2 | 11G7 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 117 | 0.5 | ug/test | LWB-M | 80-100 | LWB-G | 0-100 |  |  | LWB-L | 0-5 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | FACS Lyse listed in protocol | same as model system
mouse |  | FR4 | 12A5 | Rat | IgG1 |  | R3-34 | [5 empty] | Spleen | Mouse | Balb/c | 278.9 | 0.5 | ug/test | CD4+ CD25+ | 70-100 |  |  |  |  | CD4- CD25- | 1-15 |  |  |  |  | Y | NA | NA | NA | NA | [5 empty] | no presentation found in DUPLO folder to upload, PosTest: Balb/C spleen 3 color staining with CD4(clone RM4-5)PE and CD25(clone 7D4)(11/30/17)FITC. Double positive cells: 70-100% NegTest: Balb/C spleen 3 color staining with CD4(clone RM4-5)PE and CD25(clone 7D4)FITC. Double negative cells: 0-15%. Also, collect 50,000 events on lymphocytes gates from Halfpipe: Second step: Anti-Rat IgG1,k (clone: RG11/39.4) FITC, cat # 553892 Counter staining with CD25 PE and CD4 APC. Add 7AAD reagent to each sample test to distinguish the dead from live cells. Collect 50,000 events on lymphocytes gates. All three fractions of PE conjugated (C00,C01, C02) showed similar results. The best optimal concentration was observed at 0.125 ug/test. Released C02 fraction. CD4+CD25+ : 70–100% CD4–CD25- : 1–15% All three fractions of APC conjugated (C00, C01, C02) showed similar results. The best optimal concentration was observed at 0.125 ug/test. Released C02 fraction. CD4+CD25+ : 70–100% CD4–CD25- : 1–15%
human | CD184 | CXCR4 | 12G5 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 8.2 | 0.5 | ug/test | LWB-L | 40-100 | LWB-M | 75-100 | LWB-G | 75-100 | [6 empty] | Y | CD14 | G155-178 | 0.06 | APC | [5 empty] | use of Pharm Lyse listed in clone model system data details, use of FACS Lyse listed in protocol
human | CD159a | NKG2A | 131411 | Mouse | IgG2a | kappa | G155-178 | [5 empty] | ?? |  |  | 10.57 | 0.5 | ug/test | CD56+ gated PB-L | 5-45 |  |  |  |  | PB-M | 0-10 | PB-G | 0-10 |  |  | Y | [9 empty] | no presentation found in DUPLO folder to upload PB-L here refers to "CD56+ gated PB-L" for percent positive calculation Request Asian Donors or donor # 32, 90, 82, 87 Collect at least 2,000 CD56+ events. to do this you might have to collect approx 100,000 +/- 25,000 total events due to donor variability
human | CD159c | NKG2C | 134591 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 40 | 0.25 | ug/test | CD56+ gated PB-L | 1-40 |  |  |  |  | PB-M | 0-10 | PB-G | 0-10 |  |  | Y | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload SI 40 (donor #89) and 109 (donor# 32) Request Asian donors or # 89, 32, 38, 85, 39, 94 Collect at least 2,000 CD56+ events. To do this you might have to collect approx 100,000 +/- 25,000 total events due to donor variability
human | CD186 | CXCR6 | 13B 1E5 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 21.6 | 1 | ug/test | CD3+ LWB-L | 1-20 | [10 empty] | Y | CD3 | UCHT1, HIT3a | 1 | PE | [5 empty] | 2-color staining with CD3 (clone UCHT1 or HIT3a) required; use CD3 for gating
mouse | CD352 | Ly-108 | 13G3 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | Thymus | Mouse | Balb/c | 25 | 0.5 | ug/test | Pop | 80-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | use FC block
human | CD45RA |  | 14.8 | Rat | IgG2b | kappa | A95-1 | N | N | NA | NA | NA | Spleen | Mouse | B6, Balb/c | 20 | 0.5 | ug/test | CD3- B6 | 70-100 | CD3+ B6 | 15-45 | [8 empty] | Y | CD3e | 145-2C11 | 0.25 | FITC | [6 empty] | same as model system
mouse | CD196 | CCR6 | 14076 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | B6 | 9.7 | 0.5 | ug/test | Pop | 15-40 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | use Pharm Lyse, use FC block
mouse | CD3e |  | 145-2C11 | Hamster | IgG1 | kappa | A19-3 (note to use in BV605 and test at week 327) | N | N | NA | NA | NA | Spleen | Mouse | Balb/c, B6 | 22 | 0.25 | ug/test | CD4+ CD8+ | 85-100 |  |  |  |  | CD4- CD8- | 0-10 |  |  |  |  | Y | CD4, CD8 | RM4-5, 53-6.7 | 0.06 | APC | [5 empty] | use Pharm Lyse, use FC block | same as model system
mouse | CD80 | B7-1 | 16-10A1 | Hamster | IgG2 | kappa | B81-3 | N | Y | B6 | LPS | 72 | Spleen | Mouse | Balb/c, B6 | 61 | 0.06 | ug/test | Stim | 30-100 | [6 empty] | Unstim | 0-20 |  |  | N | NA | NA | NA | NA | [5 empty] | use Fc block PosTest: Balb/c or B6 Spl cultured 48-72 hours in LPS w/ Fc block (30-100%) NegTest: Fresh Balb/c or B6 Spl w/ Fc block (0-20) | same as model system
human |  | ULB P-2/5/6 | 165903 | Mouse | IgG2a | kappa |  | Y | N | NA | NA | NA | Cell line, LWB | Human | NA | 16.4 | 0.5 |  | Jurkat | 80-100 |  |  |  |  | LWB-L | 0-10 | LWB-G | 0-10 | LWB-M | 0-20 | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload Opt: 0.5ug Jurkat cells 80-100% and PB-L/G each 0-10% PB-M 0-20% Stain Index 16.4 --> No need to do more testing to release other formats
mouse | CD45B |  | 16A | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Thymus | Mouse | Balb/c, B6 | 49.2 | 0.125 | ug/test | Pop | 90-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | use Fc block | same as model system
human | CD360 | IL-21R, IL-21 Rcptr | 17A12 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 6.9 | 1 | ug/test | CD19+ LWB-L | 40-100 |  |  |  |  | LWB-G | 0-20 |  |  |  |  | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | 2 color staining required with CD19 clone HIB19 | same as model system
mouse | CD3 | MolCpx | 17A2 | Rat | IgG2b | kappa | R35-38, use A95-1 as reference Ab |  | N?? |  |  |  | Spleen | Mouse | Balb/c, B6 | 29 | 1 | ug/test | [12 empty] | Y | CD19 | 1D3 | [7 empty] | no presentation found in DUPLO folder to upload | same as model system
human | CD206 | mannose receptor | 19.2 | Mouse | IgG1 | kappa | X40 | Y | Y | PBMC | GM-CSF | 72 | PBMC, LWB | Human | NA | 156 | 0.5 | ug/test | PBMC-M | 60-100 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-5 | LWB-G | 0-5 | N | NA | NA | NA | NA | [5 empty] | block treated PBMC with 5% Hu Ab serum before staining, no wash between. After stimulation, PB-monocytes could be adherent and can be detached with scraper. Activated PB-monocytes have higher FSC and SSC. Collect minimum of 3,000 events in PB-monocyte gate. PB-M treated with GM-CSF 3 days and with human serum blocking, FACSLyse used. FC PosTest: PBMC-M treated with GM-CSF(3 days) NegTest: PB-L, PB-M, PB-G Comment: block treated PBMC with 5% Human Ab serum before staining, no wash between. After the stimulation, the monocytes could be adherent. They can be detached with scraper. Also the monocytes (PBMC-M) are activated so they have higher FSC and SSC. Be sure to gate the correct population before acquiring. Make sure to collect 3,000 events in monocyte (PBMC-M) gate. SOP_Num: QC5050 for GM-CSF treatment; QC5045 for LWB staining CatNum_Iso: 51-542-9007946 MIgG1 clone X40 | same as model system
human | CD267 | TACI | 1A1-K21-M22, aka 1A1 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | LWB | Human | NA | 7.5 | 0.5 | ug/test | CD19+ LWB-L | 10-80 |  |  |  |  | LWB-G | 0-10 |  |  |  |  | Y | CD19 | HIB19 | 0.125, 0.03 | APC, PE
human | CD141 |  | 1A4 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 10 | 0.25 | ug/test | LWB-M | 60-100 | LWB-G | 5-50 |  |  | LWB-L | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
mouse |  | Ly-6G | 1A8 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Bone Marrow | Mouse | Balb/c, B6 | 284 | 0.5 | ug/test | Myeloid Cells | 40-80 |  |  |  |  | Lymphoid Cells | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Target Cells: B6 BM dob: 5/18/15 FC Block | same as model system
mouse | CD137 | 4-1BB | 1AH2 | Rat | IgG1 | kappa | R3-34 | N | Y | Balb/C | plate bound CD3 (500A2) & soluble mCD28 (37.51) NA/LE | 72 | Spleen | Mouse | Balb/c, B6 | 9.2 | 2 | ug/test | CD25+ Stim | 30-80 |  |  |  |  | Unstim | 0-5 |  |  |  |  | Y | CD25 | 3C7 | 1 | APC | [5 empty] | For negative test, use same strain as activated spleen. For positive test: spl activated for 3 days with plate bound 500A2 (10ug/ml) and soluble 37.51 NA/LE (1ug/ml). Culture cells at 106/ml. 2 color vs. 3C7-PE, titrate at 4, 2 and 1ug to test this product. Also, use Pharm Lyse, use Fc block Pos. Test: Balb/c Spl with 10 ug/mL CD3 (500A2) purified & 1ug/mL mCD28 (37.51) NA/LE 1ug/ml stim. 72hrs: CD25+: 30-80%
mouse | CD1d |  | 1B1 | Rat | IgG2b | kappa | A95-1 | N | N | NA | NA | NA | Thymus | Mouse | Balb/c | 19 | 0.25 | ug/test | Pop | 60-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | use Fc block | no figure
human | CD314 | NKG2D | 1D11 | Mouse | IgG1 | kappa | MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 17 | 0.5 | ug/test | LWB-L | 15-60 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | use FACS Lyse | same as model system
mouse | CD19 |  | 1D3 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c, B6 | 63 | 0.25 | ug/test | CD3- | 80-100 |  |  |  |  | CD3+ | 0-5 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | use Pharm Lyse, use Fc block | same as model system
human | CD43 |  | 1G10 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 1920 | 0.25 | ug/test | LWB-L | 80-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | negative test spec listed as L (B cell subset) positive test spec specifically listed as: L (T cell subset) | same as model system
mouse |  | TIGIT | 1G9 aka 1G9.36 | Mouse | IgG1 | kappa | X40 | N | Y | B6 | Con A | 48 | Spleen | Mouse | B6 | 7.2 | 0.5 | ug/test | CD3+ | 30-100 |  |  |  |  | CD3- | 0-15 |  |  |  |  | Y | CD3 | 145-2C11 | 1 | APC
mouse | CD16/32 |  | 2.4G2 | Rat | IgG2b | [7 empty] | Spleen | Mouse | Balb/c, B6 | 28 | 0.25 | ug/test | [13 empty] | NA | NA | NA | NA | [5 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse |  | NKG2A/C/E | 20d5 | Rat | IgG2a | kappa | R35-95 |  | N |  |  |  | Spleen | Mouse | B6 | 56 | 1 | ug/test | [12 empty] | Y | NA | NA | NA | NA | [5 empty] | no presentation found in DUPLO folder to upload | same as model system
human | CD277 |  | 232-5 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 28.1 | 0.25 | ug/test | LWB-L | 70-100 | LWB-M | 70-100 |  |  | LWB-G | 0-70 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | FACS Lyse listed in protocol
human | CD86 |  | 2331, FUN-1 | Mouse | IgG1 | kappa | X40 for PE-CF594, MOPC-21 for other color | N | N | NA | NA | NA | Cell line, LWB | Human | NA | 162 | 0.125 | ug/test | Pop | 90-100 |  |  |  |  | LWB-L | 0-10 | G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | species also listed as rhesus and cyno. also no presentation found in DUPLO folder to upload | same as model system
human | CD340 | HER-2 | 24D2 aka 24D2.168 | Mouse | IgG1 |  |  | N | N | NA | NA | NA |  |  |  | 324 | 0.5 | ug/test | [12 empty] | N | NA | NA | NA | NA | [5 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
human | CD105 | endoglin | 266 | Mouse | IgG1 | kappa | MOPC-21 | N | N | NA | NA | NA | Cell line | Human | U937 | 34 | 1 | ug/test | Pop | 80-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | U937 cell line | U937 cell line
mouse | CD138 | Syndecan-1 | 281-2 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Bone Marrow | Mouse | Balb/c, B6 | 4.8 | 0.125 | ug/test | CD45R+ | 35-75 |  |  |  |  | CD45R- | 0-10 |  |  |  |  | Y | CD45R (B220) | RA3-6B2 | 0.06 | APC | [5 empty] | TDS caption: Bone marrow cells from C57BL/6 mice were preincubated with Purified Rat Anti-Mouse CD16/CD32 (Mouse BD Fc Block™) (Cat. no. 553141/553142). The cells were then stained with APC Rat Anti-Mouse CD45R/B220 (Cat. No. 553092/561880) and with either BD Pharmingen™ Brilliant Violet™ 421 Rat IgG2a, κ Isotype Control (Cat. No. 562602, Left Panel) or with BD Pharmingen™ Brilliant Violet™ 421 Rat Anti-Mouse CD138 antibody, use FC block. | see TDS description in notes and use Fc block
human | CD133 |  | 293-C3 | [12 empty] | 11.8 | 0.125 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse | CD335 | NKp46 | 29A1.4 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | B6 | 22.1 | 0.5 | ug/test | NK1.1+ | 2-8 | CD335+ total | 2-8 |  |  | NK1.1- | 0-1 | CD335+ subset | 0-1 |  |  | Y | NK1.1 | PK136 | 0.125 | PE | [5 empty] | use Pharm Lyse, use Fc block and collect 50K lymphoid cells | same as model system
human | CD25 | IL-2 Receptor alpha | 2A3 | Mouse | IgG1 | kappa | X40 | Y | Y | PBMC | PHA | 72 | PBMC, LWB | Human | NA | 450 | 0.25 | ug/test | PBMC-L | 85-100 | LWB-L | 1-43 |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | Y | CD4 | RPA-T4 | 0.25 | APC | [5 empty] | use FACS Lyse and counterstain for LWB only
human |  | CX3CR1 | 2A9-1 | Rat | IgG2b | kappa | R35-38 | N | N | NA | NA | NA | LWB | Human | NA | 127.8 | 0.25 | ug/test | LWB-L | 10-50 | LWB-M | 10-100 |  |  | LWB-G | 0-100 |  |  |  |  | N | [9 empty] | no presentation found in DUPLO folder to upload
mouse | CD184 |  | 2B11, 2B11/CXCR4 | Rat | IgG2b | kappa | FITC and PE use A95-1, BV421 use R35-38 | N | N | NA | NA | NA | Thymus | Mouse | Balb/c | 8 | 1 | ug/test | CD4+ | 45-95 | [10 empty] | Y | CD4 | RM4-5 | 0.06 | APC | [5 empty] | use Fc block | same as model system
mouse | CD244.2 |  | 2B4 | Mouse | IgG2b | kappa | if MPC-11 is unavailable, use clone 27-35. Ref Ab should be MPC-11. | Y | Y | B6 | IL-2 | 120 | Spleen | Mouse | Balb/c, B6 | 8.6 | 1 | ug/test | B6 LAK NK1.1+ | 85-100 |  |  |  |  | Balb/c | 0-5 |  |  |  |  | Y | NK1.1 | PK136 |  | APC | [5 empty] | B6 LAK cell (IL-2 stim 5 days) NK1.1+ subset | same as model system
human | CD275 |  | 2D3/B7-H2 | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | Cell line | Hamster | CHO | 65 | 0.5 | ug/test | CHO-B7-H2 | 85-100 |  |  |  |  | CHO-K1 | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD195 |  | 2D7 aka 2D7/CCR5 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 39.3 | 0.25 | ug/test | LWB-L | 15-45 |  |  |  |  | LWB-G | 0-75 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | FACS Lyse listed on protocol | same as model system
mouse | CD103 |  | 2E7 |  |  |  |  | N | N | NA | NA | NA |  | Human | NA | 18.9 | 1 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse |  | KLRG1 | 2F1 | Hamster | IgG2 | kappa | B81-3 | N | N | NA | NA | NA | Spleen | Human | B6 | 18.1 | 0.125 | ug/test | NK1.1+ | 20-70 |  |  |  |  | NK1.1- | 0-5 |  |  |  |  | Y | NK1.1 | PK136 | 0.25 | APC | [5 empty] | use Pharm Lyse, use Fc block | same as model system
mouse |  | I-A/I-E | 2G9 | Rat | IgG2a | kappa | R35-95 | Y | N | NA | NA | NA | Spleen | Human | B6,SJL | 104.6 | 0.125 | ug/test | CD3- B6 | 85-100 |  |  |  |  | CD3+ B6 | 0-50 | SJL | 0-10 |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | no | same as model system
human | CD20 |  | 2H7 | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | LWB | Human | NA | 158 | 0.25 | ug/test | LWB-L | 5-35 |  |  |  |  | LWB-M | 0-30 | LWB-G | 0-10 |  |  | Y | CD19 | HIB19 |  | APC | [5 empty] | Species also listed as NHP positive spec specifically listed as: L (Pan B; T-cell subset) | same as model system
human | CD197 | CCR7 | 2-L1-A | Mouse | IgG1 |  |  | N | [5 empty] | Human | NA | 67 | 0.5 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse | CD162 |  | 2PH1 | Rat | IgG1 | kappa | R3-34 | N | N | NA | NA | NA | Spleen | Human | Balb/c | 14 | 0.125 | ug/test | CD3+ | 90-100 |  |  |  |  | CD3- | 15-40 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | use Pharm Lyse, use Fc block | same as model system
human | CD8b |  | 2ST8.5H7 | Mouse | IgG2a | kappa | G155-178 APC (7/31/16) | N | N | NA | NA | NA | LWB | Human | NA | 797 | 0.5 | ug/test | LWB-L | 13-48 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-44 |  |  | N | NA | NA | NA | NA | [5 empty] | spec from hCD8 clone RPA-T8
human | CD11c |  | 3.9 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 14 | 1 | ug/test | LWB-L | 1-20 | LWB-M | 10-100 | LWB-G | 1-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | species also listed as positive on rhesus, cyno, baboon, and no presentation found in DUPLO folder to upload Released on additonal formats in OptiBuild wave 3d Both BV421EZ and BB700 optimal are 1ug per test.
mouse | CD40 |  | 3/23 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c, B6 | 19.9 | 0.5 | ug/test | CD3- | 80-100 |  |  |  |  | CD3+ | 0-10 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC
mouse | CD45 |  | 30-F11 | Rat | IgG2b | kappa | R35-38, A95-1 listed in clone model system details spreadsheet | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 440 | 0.25 | ug/test | Pop | 95-100 | [10 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
mouse | CD90.2 | Thy1.2 | 30-H12 | Rat | IgG2b | kappa | R35-38, A95-1 | N |  |  |  |  | Thymus | Mouse | Balb/c, B6 | 2294 | 0.5 | [13 empty] | N | [9 empty] | no presentation found in DUPLO folder to upload
human | CD366 | Tim-3 | 344823 | Rat | IgG2a | [10 empty] | 6 | 0.5 | [13 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse | CD28 |  | 37.51 |  |  | lambda | Ham IgG2 l1 Ha4/8 | [5 empty] | Spleen |  |  | 2.8 | 0.5 | [13 empty] | Y | [9 empty] | PosTest: BALB/c or B6 CD4+CD8+ (RM4-5-FITC + 53-6.7-FITC)spleen cells(80-100%)w/ Fc Block, incubate >40 minutes NegTest: BALB/c or B6 CD4-CD8- spleen cells (RM4-5-FITC + 53-6.7-FITC)(0-20%)w/ Fc Block, incubate >40 minutes, no presentation found in DUPLO data folder | same as model system
mouse | CD31 | PECAM-1 | 390 | Rat | IgG2a | kappa | R35-95 | N |  |  |  |  | Bone Marrow | Mouse | Balb/c, B6 | 31.3 | 0.125 | [13 empty] | Y?? | CD45R | RA3-6B2 | [7 empty] | no BV421EZ reference slides found in DUPLO folder to upload | same as model system
human | CD79b |  | 3A2-2E7 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 269.5 | 0.5 | ug/test | LWB-L | 5-25 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | wash twice after staining and FACS Lyse listed in protocol | LWB with CD19
mouse | CD25 | Il-2 Receptor alpha | 3C7 | Rat | IgG2b | kappa | R25-28, Ref Ab A95-1 | N | Y | NA | Con A | 72 | Spleen | Mouse | Balb/c | 7 | 1 | ug/test | Stim | 80-100 |  |  |  |  | Unstim | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Use Pharm Lyse, use FC block | same as model system
human | CD197 | CCR7 | 3D12 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | LWB | Human | NA | 29 | 0.5 | ug/test | LWB-L | 30-60 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | use Pharm Lyse. Also, donor dependent, review previous data.
human | CD32 | FcyRII aka Fcy Receptor II | 3D3 | Mouse | IgG1 | kappa | MOPC-21, X40 | N |  |  |  |  | LWB | Human | NA | 40.6 | 0.5 | ug/test | L | 0 | M | 0 | G | 0 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | Staining on monocytes and granulocytes varies between donors from very weak to strong. No presentation found in the DUPLO folder to upload.
mouse | CD54 | ICAM-1 | 3E2 | Hamster | IgG1 | kappa | A19-3 | N | Y | Spleen | LPS | 48 | Spleen | Mouse | Balb/c, B6 | 16.4 | 0.25 | ug/test | Pop | 30-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | Positive spec can be unactivated spl (30-80%) and/ or LPS activated spl (80-100%). If using both, activated and non activated spl species must be the same. Attached data does not depict an LPS activated cell model. | same as model system
human | CD16 |  | 3G8 | Mouse | IgG1 | kappa | X40, other color use MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 21 | 0.5 | ug/test | LWB-L | 5-33 | LWB-M | 15-100 | LWB-G | 90-100 | [6 empty] | Y | CD56 | B159 | 0.125 | APC | [5 empty] | positive lymphocyte population = T cells, negative lymphocyte population = B cells, weak on monocytes | same as model system
mouse | CD106 | VCAM-1 | 429 (MVCAM.A) | Rat | IgG2a | kappa | R35-95 | Y | N | NA | NA | NA | Bone Marrow, Spleen | Mouse | Balb/c, B6 | 9 | 0.125 | ug/test | B6 BM high SSC cells | 15-60 |  |  |  |  | B6 BM low SSC cells | 0-15 | B6 Spleen | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | Use Pharm Lyse and use Fc block. Specification details = PosTest: Balb/C or B6 BM SSC-A High cells:15-60%. Analyze BM SSC vs. Alexa647. NegTest options: 1) Balb/C or B6 BM SSC-A Low cells:0-15% 2)Balb/C or B6 spleen cells: 0-10% | same as model system
human | CD198 | CCR8 | 433H | Mouse | IgG2a |  | G155-178 | N |  |  |  |  | LWB | Human | NA | 10 | 0.25 | ug/test | L | 1-30 | M | 1-100 | G | 0-10 | [6 empty] | N | [9 empty] | no clone model system data details found and presentation found in DUPLO folder to upload Collect 50000 events in living gate for analysis
mouse |  | Singlec-H | 440c aka 440c.95 | Rat | IgG2b | [10 empty] | 87.95 | 0.125 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse | CD192 | CCR2 | 475301 | Rat | IgG2b | [7 empty] | Spleen | Mouse |  | 47 | 0.125 | ug/test | [22 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
human |  | ROR1 | 4A5 | Mouse | IgG2b | kappa | [6 empty] | Cell line |  |  | 70.1 | 1 | ug/test | [12 empty] | N | [9 empty] | no presentation found in DUPLO folder to upload | same as model system
mouse | CD197 | CCR7 | 4B12 | Rat | IgG2a |  | R35-95 | N | N | NA | NA | NA | Thymus | Mouse | Balb/c | 4 | 1 | ug/test | CD3+ | 5-20 |  |  |  |  | CD3- | 0-2 |  |  |  |  | Y | CD3 | 145-2C11 | 0.25 | FITC | [5 empty] | use Fc block
human | CD137 |  | 4B4-1 | Mouse | IgG1 | kappa | X40 | Y | Y | PBMC | Con A | 72 | PBMC, LWB | Human | NA | 18 | 1 | ug/test | PBMC-L | 15-90 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-5 | LWB-G | 0-5 | N | NA | NA | NA | NA | [5 empty] | negative model = LWB, use FACS Lyse for LWB preparation PBMC stimulated with Con A for 3 days | same as model system
human | CD135 |  | 4G8 | Mouse | IgG1 | kappa | MOPC-21, X40 | Y | N | NA | NA | NA | Cell line, LWB | Human | REH | 14 | 1 | ug/test | REH | 70-100 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-50 | LWB-G | 0-10 | N | NA | NA | NA | NA | [5 empty] | negative model = LWB, use FACS Lyse for LWB preparation | same as model system
mouse | CD3e |  | 500A2 | Syrian Hamster | IgG2 | kappa | B81-3 | N | N | NA | NA | NA | Spleen | Mouse | B6, Balb/c | 32.5 | 0.5 | ug/test | CD4+CD8+ | 85-100 |  |  |  |  | CD4-CD8- | 0-10 |  |  |  |  | Y | CD4, CD8 | RM4-5, 53-6.7 | 0.06 | FITC | [5 empty] | use Fc block
human | CD44 |  | 515 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 419 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA
human | CD34 |  | 563 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA |  |  |  | 212 | 1 | ug/test | [12 empty] | N | NA | NA | NA | NA | [5 empty] | no presentation found in DUPLO folder to upload. Species also listed as positive on rhesus, and cyno, but negative on baboon. PBMC (fresh) 2-color vs. CD14; CD14 must be in all tubes, and use it to gate out CD14+ monocytes. CD34+ stem cells in PBMC are in CD14- population. Run SSC in Log and collect 200,000-300,000 event. It is helpful to make two isotype control tubes and two reference tubes since it takes time to set up. If the small tiny positive population is hard to be defined on the screen, it will be very helpful to collect one reference tube and print the data out to check the setting before analyze all tubes. Analyze the data as CD14 vs SSC in log. Note: no isotype is needed for CD14 | same as model system
human | CD34 |  | 581 | Mouse | IgG1 | kappa | X40 for PE-CF594, MOPC-21 for PE | N | N | NA | NA | NA | PBMC | Human | NA | 212 | 0.5 | ug/test | [12 empty] | Y | CD14 | M5E2 | 0.125 | PE, FITC, APC | [5 empty] | noted as Pass/ Fail test, collect 250,000 to 500,000 lymphocytes and set SSC to log scale | same as model system
human | CD90 | Thy-1 | 5E10 | Mouse | IgG1 | kappa | X40 | Y | N | NA | NA | NA | Cell line, LWB | Human | HEL | 155 | 0.5 | ug/test | HEL | 90-100 |  |  |  |  | LWB-L | 0-10 | LWB-M | 0-10 | LWB-G | 0-10 | N | NA | NA | NA | NA | [5 empty] | Positive test = HEL cell line OR use stem cells (PBMC or Bone Marrow) (BM) vs CD34 (only pre-bottling) BM is unavailable for routine QC of this product. Use fresh PBMC instead. CD90 is only partially positive in CD34+ cell population. CD34 must be in all the samples for gating purpose (SSC-log vs the channel of CD34). Use 1 million cells/test and collect 200,000 to 300,000 events total. It is suggested to do two samples of Ms IgG1 isotype control staining with PBMCs since it takes time to set up the machine properly. The optimal concentration should be determined based on the staining on HEL.
human | CD45RA |  | 5H9 | Mouse | IgG1 | kappa | X40 | N |  |  |  |  | LWB | Human | NA | 470 | 0.125 | ug/test | [12 empty] | N | [9 empty] | species is Hu but species also listed as NHP and positive on cyno, rhesus and baboon No presentation found in DUPLO folder to upload | same as model system
human | CD18 |  | 6.7 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 220 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | double peaks expected on L | same as model system
human |  | TIGIT | 741182 | Mouse | IgG2b |  | 27-35 | N | N |  |  |  | LWB | Human | NA | 11.6 | 0.5 | ug/test | L | 10-50 | M | 0-10 | G | 0-10 | [6 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
mouse | CD56 | NCAM-1 | 809220 | Rat | IgG2a | [10 empty] | 24 | 0.5 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
human |  | siglec-8 | 837535 | Mouse | IgG1 | [10 empty] | 26 | 0.25 | ug/test | [12 empty] | N | [9 empty] | no clone model system data details found and no presentation found in DUPLO folder to upload
human | CD210b | IL-10 Receptor B, IL-10R Bta | 90220 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 3.3 | 1 | ug/test | LWB-L | 8-20 | LWB-M | 50-90 |  |  | LWB-G | 0-20 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | tested both in FACS Lyse and Pharm Lyse, CD14 (recommended in APC) was listed as a counterstain but is not used or displayed in attached data
human | CD56 | NCAM-1 | B159 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 73.5 | 0.25 | ug/test | LWB-L | 8-35 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-10 |  |  | Y | CD16 | 3G8 | 1 | APC | [5 empty] | use Pharm Lyse not FACS Lyse positive specifically listed as: L (T-subset), NK | same as model system
human | CD21 |  | B-ly4 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 183.1 | 0.125 | ug/test | LWB-L | 5-28 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | Y | CD19 | HIB19 | 0.25 | APC | [6 empty] | same as model system
human | CD11c |  | B-ly6 | Mouse | IgG1 | kappa | X40 for PE-CF594, MOPC-21 for other color | N | N | NA | NA | NA | LWB | Human | NA | 7 | 0.5 | ug/test | LWB-L | 7-40 | LWB-M | 90-100 | LWB-G | 80-100 | [6 empty] | Y | CD14 | M5E2 | 1 | APC | [6 empty] | same as model system
human | CD28 |  | CD28.2 | Mouse | IgG1 | kappa | MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 100 | 0.25 | ug/test | LWB-L | 55-90 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | do not use donor #201 and #323 (MHT, 03/07/2007) | same as model system
human | CD11b |  | D12 | Mouse | IgG2a | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 38.3 | 0.5 | ug/test | LWB-L | 10-40 | LWB-M | 70-100 | LWB-G | 90-100 | [6 empty] | Y | CD14 | M5E2 | 0.125 | APC
human | CD161 |  | DX12 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 21 | 0.5 | ug/test | LWB-L | 15-50 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD95 | Fas | DX2 | Mouse | IgG1 | kappa | X40 for PE-CF594, MOPC-21 for other colors | N | N | NA | NA | NA | LWB | Human | NA | 12 | 1 | ug/test | LWB-L | 35-95 | LWB-M | 80-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | species also listed as rhesus, cyno, baboon, pig, and dog | same as model system
human | CD8 |  | G42-8 | Mouse | IgG2a | kappa | G55-178 | N | N | NA | NA | NA | LWB | Human | NA | 1549 | 0.25 | ug/test | LWB-L | 15-50 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA
human | CD163 |  | GHI/61 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 42 | 1 | ug/test | LWB-M | 30-100 |  |  |  |  | LWB-L | 0-10 | LWB-G | 0-10 |  |  | Y | CD14 | M5E2 | 0.125 | APC | [5 empty] | collect 2,000 events in every monocyte gate | co-stain with CD14 for TDS
human | CD45 |  | HI30 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 120 | 0.5 | ug/test | LWB-L | 85-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD19 |  | HIB19 | Mouse | IgG1 | kappa | MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 116 | 0.125 | ug/test | LWB-L | 5-28 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-5 |  |  | N | NA | NA | NA | NA
human | CD38 |  | HIT2 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 19 | 0.5 | ug/test | LWB-L | 40-90 | LWB-M | 80-100 |  |  | LWB-G | 0-100 |  |  |  |  | Y | CD14 | M5E3 |  | PE | [5 empty] | positive on L (T+B cells), NK, and monocytes, weak on G (+/-) | same as model system
human | CD8 |  | HIT8a | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 1281 | 0.25 | ug/test | LWB-L | 13-48 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-20 |  |  | N | NA | NA | NA | NA | [5 empty] | do not use donor #93, #198
human | CD183 |  | IC6/CXCR3 aka IC6 aka LS177-1C6 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 25 | 1 | ug/test | LWB-L | 40-60 |  |  |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | species also listed as rhesus, cyno, baboon | Same as model system
human | CD11b | Mac-1 | ICRF44 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 14.6 | 0.5 | ug/test | LWB-L | 10-40 | LWB-M | 70-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD81 | TAPA-1 | JS-81 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 150 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 60-100 | LWB-G | 1-50 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD4 |  | L200 | Mouse | IgG1 | kappa | X40 for PE-CF594, use MOPC-21 for other colors | N | N | NA | NA | NA | LWB | Human | NA | 315 | 0.125 | ug/test | LWB-L | 20-60 | LWB-M | 20-100 | LWB-G | 0-20 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD14 |  | M5E2 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 122.3 | 0.5 | ug/test | LWB-M | 80-100 |  |  |  |  | LWB-L | 0-5 | LWB-G | 1-100 |  |  | N | NA | NA | NA | NA | [5 empty] | must collect 2,000 events in every monoctye gate | same as model system
human | CD29 |  | MAR4 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 75 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 90-100 | LWB-G | 60-100 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD23 |  | M-L233 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 15 | 0.5 | ug/test | LWB-L | 4-15 |  |  |  |  | LWB-M | 0-15 | LWB-G | 0-10 |  |  | Y | CD19 | HIB19 |  | APC | [5 empty] | collect 10,000 events in lymphocyte gate to see clear positive peak positive specifically listed as: L (B cells)
human | CD27 |  | M-T271 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 225.3 | 0.25 | ug/test | LWB-L | 55-100 |  |  |  |  | LWB-M | 0-79 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | positive specifically listed as: L, Tsub | same as model system
human | CD33 |  | P67.6 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 219 | 0.125 | ug/test | LWB-M | 80-100 | LWB-G | 40-100 |  |  | LWB-L | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | weak positive on granulocytes, SJ clone and use QM plan for clone WM53
human | CD4 |  | RPA-T4 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 364.4 | 0.5 | ug/test | LWB-L | 20-60 | LWB-M | 20-100 |  |  | LWB-G | 0-40 |  |  |  |  | Y | CD14 | M5E2 |  | APC | [5 empty] | do not use donor #288, #209, #277, good donors = #106, #249 | same as model system
human | CD8 |  | RPA-T8 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 342 | 0.25 | ug/test | LWB-L | 13-48 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-44 |  |  | N | NA | NA | NA | NA | [5 empty] | positive on cyno, rhesus, baboon | same as model system
human | CD11c |  | S-HCL-3 | Mouse | IgG2b | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 7.6 | 0.5 | ug/test | LWB-L | 7-40 | LWB-M | 90-100 | LWB-G | 80-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | QM plan from Hu CD11c (B-Ly6)
human | CD8 |  | SK1 | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 464 | 0.25 | ug/test | LWB-L | 13-48 |  |  |  |  | LWB-M | 0-20 | LWB-G | 0-44 |  |  | N | NA | NA | NA | NA | [5 empty] | FACS Lyse listed in protocol | same as model system
human | CD62L | anti-Leu-8, L-selectin, LECAM-1 | SK11 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 232 | 0.25 or 0.5 | ug/test | LWB-L | 15-90 | LWB-M | 50-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [6 empty] | same as model system
human | CD3 |  | SK7 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 250 | 0.25 | ug/test | LWB-L | 50-80 |  |  |  |  | LWB-M | 0-30 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | FACS Lyse listed in protocol
human | CD3 |  | SP34-2 | Mouse | IgG1 | lambda | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 215 | 0.5 | ug/test | LWB-L | 50-85 |  |  |  |  | LWB-M | 0-30 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | species also listed as NHP and positive on rhesus, cyno, and baboon | same as model system
human | CD5 |  | UCHT2 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 263 | 0.125 | ug/test | LWB-L | 50-90 |  |  |  |  | LWB-M | 0-30 | LWB-G | 0-20 |  |  | Y | CD14 | M5E2 | 1 | APC | [5 empty] | let Ab sit at room temperature for 45- 60 minutes before using | same as model system
human | CD15 |  | W6D3 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 1240 | 0.5 | ug/test | LWB-G | 85-100 | LWB-M | 1-100 |  |  | LWB-L | 0-10 |  |  |  |  | Y | CD14 | M5E2 |  | APC | [5 empty] | weak positive on monoctyes, donor dependent | same as model system
human | CD13 |  | WM15 | Mouse | IgG1 | kappa | MOPC-21, X40 | N | N | NA | NA | NA | LWB | Human | NA | 48 | 0.5 | ug/test | LWB-M | 85-100 | LWB-G | 85-100 |  |  | LWB-L | 0-5 |  |  |  |  | N | NA | NA | NA | NA | [6 empty] | same as model system
mouse |  | Singlec-H | 440c |  | IgG2b | [10 empty] | 87.95 | 0.125 | ug/test
human | CD371 | Clec12A | 50C1 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 135 | 0.25 | ug/test | LWB-M | 90-100 | LWB-G | 90-100 |  |  | LWB-L | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Must wash 2X after staining
human | CD106 | VCAM-1 | 51-10C9 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | Y | HUVEC | TNF | 24 | Cell line | Human | NA | 527.9 | 1 | ug/test | activated HUVEC | 45-100 |  |  |  |  | resting HUVEC | 0-10 |  |  |  |  | N | NA | NA | NA | NA
mouse | CD90.2 | Thy-1.2 | 53-2.1 | Rat | IgG2a | kappa | R35-95 | Y | N | NA | NA | NA | Thymus | Mouse | Balb/c, AKR | 1028.5 | 0.25 | ug/test | Balb/c | 90-100 |  |  |  |  | AKR | 0-5 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | HUVEC cell needs to be cultured in a special medium. Refer to cell line database for the detail information. When the cell grows very slow and/or become TNF induction resistant, it is the time to order a new one. Add 7AAD
mouse | CD8a |  | 53-6.7 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 62 | 0.06 | ug/test | CD3+ | 25-50 |  |  |  |  | CD3- | 0-10 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | Pharmlyse, Fc Block, 7AAD
mouse | CD5 |  | 53-7.3 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 86.7 | 0.5 | ug/test | CD3+ | 75-100 |  |  |  |  | CD3- | 1-30 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | Pharmlyse, Fc Block, 7AAD
human | CD144 | VE-cadherin | 55-7H1 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | N | NA | NA | NA | HUVEC, LWB | Human | NA | 183 | 0.125 | ug/test | HUVEC | 90-100 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-20 | LWB-G | 0-15 | N | NA | NA | NA | NA | [5 empty] | FACSlyse, resting HUVEC note: this protein is sensitive to trypsin, do not use trypsin, must use Cell Dissociation Buffer
human | CD40 |  | 5C3 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 60.7 | 0.03 | ug/test | LWB-L | 1-30 | LWB-M | 1-100 |  |  | LWB-G | 0-20 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | FACSlyse
mouse | CD366 | Tim3 | 5D12/TIM-3 (also known as 5D12) | Mouse | IgG1 | kappa | X40, MOPC-21 | [8 empty] | 9.54 | 0.25 | ug/test | [22 empty] | No LEGO/DUPLO data available
mouse | CD122 | IL-2 Receptor β | 5H4 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 18 | 0.5 | ug/test | CD49b+ | 70-100 |  |  |  |  | CD49b- | 5-30 |  |  |  |  | Y | CD49b | DX-5 | 1 | PE | [5 empty] | 7AAD
human | CD354 | TREM1 | 6B1 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 12.2 | 0.5 | ug/test | LWB-M | 70-100 | LWB-G | 70-100 |  |  | LWB-L | 0-15 |  |  |  |  | N | NA | NA | NA | NA
human |  | Invariant NK T cel | 6B11 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 75.4 | 0.5 | ug/test | LWB-L CD3+ | Pass/Fail | [10 empty] | Y | CD3 | UCHT1 | 0.06 | APC | [5 empty] | 2-color staining with CD3(UCHT1)-PE 51-550-30105; All 6B11+ cells must be CD3+. 6B11+ cells are only <2.5% in CD3+. Analyze data in 2-color dot plot format. Donor dependent: 7, 201, 2044, or any Asian donor. Collect 100,000-200,000 in CD3 positive gate
human | CD182 | CXCR2 | 6C6 | Mouse | IgG1 | lambda | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 34.1 | 0.5 | ug/test | LWB-L CD3+ | 5-35 | LWB-M | 40-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | FACSlyse, PosTest: PB-L (CD56 & NK), PB-M (weak), PB-G
human | CD169 | Siglec-1 | 7-239 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | Y | PBMC | IFNalpha2a | 48 | PBMC | Human | NA | 27.4 | 0.5 | ug/test | activated CD14+/CD169+ PBMC-M | 80-100 |  |  |  |  | activated CD14+/CD169+ PBMC-L | 0-40 |  |  |  |  | Y | CD14 | M5E2 | 0.125 | APC | [5 empty] | 2-color staining with CD14 clone M5E2 required; use Human FC block(Cat. No. 564219/564220), before staining; staining CD169 and CD14 together, SOP_Num: QC5043 for isolation of PBMCs; QC5045 for staining, wash twice after staining
human | CD276 | B7-H3 | 7-517 | Mouse | IgG1 | kappa | X40 | Y | Y | Differentiated monocytes (immature DC) | IL-4 and GM-CSF | 120 | differentiated monocytes | Human | NA | 167.4 | 0.5 | ug/test | immature dendtritic cells with IL-4 and GM-CSF 5 days | 70-100 | [10 empty] | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file.
human |  | GARP | 7B11 (also known as CMSSC-7B11) | Mouse | IgG2b | kappa | 27-35 | N | Y | PBMC | Coated CD3 free CD28 | 48 | PBMC | Human | NA | 15.6 | 0.25 | ug/test | GARP+CD4+ stim PBMC | 1-20 | [10 empty] | Y | CD4 | RPA-T4 | 0.03 | A647 | [5 empty] | Another costaining with FoxP3 may be used in conjugation with CD4 to gate on FoxP3+ in CD4+ as a positive test
human | CD366 | TIM-3 | 7D3 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 10 | 0.5 | ug/test | CD56+TIM-3+ LWB-L | 30-95 | LWB-M | 30-100 |  |  | LWB-G | 0-10 |  |  |  |  | N | NA | N | NA | NA | [5 empty] | for analysis, gate on CD56+ and analyze by histogram for positive target
mouse | CD278 | ICOS | 7E.17G9 | Rat | IgG2b | kappa | A95-1, R35-38 | N | Y | Balb/c | CD3 | 48-72H | Spleen | Mouse | Balb/c | 8.9 | 0.5 | ug/test | Stim | 35-70 |  |  |  |  | BALB/c Spleen | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Fc Block, 7AAD
human | CD123 | IL3RA | 7G3 | Mouse | IgG2a | kappa | G155-178 | Y | N | NA | NA | NA | Cell line | Hamster | Chinese | 16 | 0.5 | ug/test | CHO-hu IL3Ralpha | 80-100 |  |  |  |  | CHO-hu GM-CSF CSFR beta | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | PosTest: Balb/c spl B220(clone RA3-6B2) +subset: 70-100%, NegTest: Balb/c spl B220(clone RA3-6B2) -subset: 0-10% , Comment: CNR11726
Mouse | CD21/CD35 | CR2/CR1 | 7G6 | Rat | IgG2b | kappa | A95-1 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 20.9 | 0.03 | ug/test | B220+ subset | 70-100 |  |  |  |  | B220- subset | 0-10 |  |  |  |  | Y | CD45R/B220 | RA3-6B2 | 0.06 | APC
human |  | ASGPR 1 | 8D7 | Mouse | IgG1 | kappa | X40 | Y | N | NA | NA | NA | Cell line | Human | NA | 69.5 | 1 | ug/test | HEPG2 cell line | 90-100 |  |  |  |  | Jurkat cell line | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file.
human | CD34 |  | 8G12 (also known as HPCA2) | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | PBMC | Human | NA | 125 | 0.5 | ug/test | PBMC vs CD14 | [5 empty] | PBMC vs CD14 | [5 empty] | Y | CD14 | H5 | NA | APC | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file. No values for pos and neg on the LEGO DUPLO ppt
mouse | CD38 | ADP-ribosyl cyclase 1 | 90/CD38 (also known as Ab90) | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 8 | 0.125 | ug/test | CD3- subset spleen | 90-100 |  |  |  |  | CD3+ subset spleen | 15-35 |  |  |  |  | Y | CD3e | 145-2C11 | 1 | APC | [5 empty] | Fc Block, 7AAD
human | CD335 | NKp46 | 9E2/NKp46 (also known as 9-E2) | Mouse | IgG1 | kappa | X40 | N | N | NA | NA | NA | LWB | Human | NA | 5.3 | 0.25 | ug/test | LWB-L | [5 empty] | LWB-M |  | LWB-G |  |  |  | N | NA | NA | NA | NA | [5 empty] | No LEGO/DUPLO data available, No values for pos and neg available
human | CD49d | intergin alpha4 chain | 9F10 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 60 | 0.5 | ug/test | LWB-L | 60-100 | LWB-M | 50-100 |  |  | LWB-G | 0-70 |  |  |  |  | Y | CD14 | M5E2 | 0.125 | APC | [5 empty] | positive on eosinophils.
human | CD123 |  | 9F5 | Mouse | IgG1 | kappa | G155-178 | Y | N | CHO-hu IL3R alpha ​ | CHO-hu GM-CSFR beta ​ | NA | Cell line | Hamster | NA | 15.5 | 1 | ug/test | CHO-hu IL3R alpha ​ | 80-100 | NA | NA | NA | NA | CHO-hu GM-CSFR beta ​ | 0-10 | NA | NA | NA | NA | N | NA | NA | NA | NA
A1
mouse | CD45.1 | Ly-5 | A20 | Mouse | IgG2a | kappa | G155-178 | Y | N | NA | NA | N/A | Spleen | Mouse | SJL, B6 | 294 | 0.5 | ug/test | SJL Spleen | 95-100 | NA | NA | NA | NA | B6 Spleen | 0-10 | NA | NA | NA | NA | N | NA | NA | NA | NA
human | CD91 | A2MR | A2MR-α2 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 471 | 0.125 | ug/test | LWB-M | 20-100 | NA | NA | NA | NA | LWB-L | 0-5 | LWB-G | 0-5 | NA | NA | Y | CD14 | M5E2 | 0.125 | APC
human | CD89 | IgA Fc receptor | A59 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 71.4 | 0.5 | ug/test | LWB-M | 80-100 | LWB-G | 90-100 | NA | NA | LWB-L | 0-10 | NA | NA | NA | NA | N | NA | NA | NA | NA
mouse |  | IgG1 | A85-1 | Rat | IgG1 | kappa | R3-34 | Y | N | NA | NA | NA | Spleen | Mouse | Balb/c | 100.2 | 0.06 | ug/test | CD22.2 (Purified) Primary Ab stained BALB/C Spleenocytes | 40-90 | NA | NA | NA | NA | BALB/C Spleen | 0-10 | NA | NA | NA | NA | N | NA | NA | NA | NA
mouse | CD93 | Aa4 | AA4.1 | Rat | IgG2b | kappa | A95-1 | N | N | NA | NA | NA | Bone Marrow | Mouse | B6 | 46 | 0.5 | ug/test | B6 BM B220+ subset | 40-100 | NA | NA | NA | NA | B6 BM B220- subset | 0-10 | NA | NA | NA | NA | Y | B220 | RA3-6B2 | 0.5 | FITC
human | CD62P | SELP | AC1.2 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | Y | Platelets | Thrombin | ? | LWB, platelets | Human | NA | 139.8 | 0.5 | ug/test | Act platelets | 85-100 |  |  |  |  | platelet depleted LWB | 0-15 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file. Optimal Thrombin concentration 4.0Unit/ml
human | CD134 | OX40 | ACT35 (also known as Ber-ACT35) | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | Y | PBMC | PHA | 72 | PBMC+ PHA, LWB | Human | NA | 128 | 1 | ug/test | PBMC PHA | 50-100 | LWB-L | 0-20 |  |  | LWB-M | 0-10 | LWB-G | 0-10 |  |  | N | NA | NA | NA | NA | [5 empty] | PosTest: PBMC-L stimulated with PHA for 3 days; PB-L (weak) NegTest: PB-M, PB-G Comment: DO NOT USE DONOR #300 for LWB staining. SOP_Num: QC/5050 for PHA stimulation method; MIgG1 X40 LWB-L: 0-20 (weak)
human | CD73 | NT5E | AD2 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 35 | 0.25 | ug/test | LWB-L | 20-70 |  |  |  |  | LWB-M | 0-5 | LWB-G | 0-5 |  |  | N | NA | NA | NA | NA | [5 empty] | PosTest: PB-L NegTest: PB-M, PB-G SOP_Num: QC5045 CatNum_Iso: 51-550-33815 MIgG1 MOPC-21
human |  | FcεR1α | AER-37 (also known as CRA-1, CRA1) | Mouse | IgG2b | kappa | [34 empty] | No entry in the Clone model System 053119 v1 master v3 file and No LEGo/DUPLO ppt available
mouse |  | H-2Kb | AF6-88.5 | Mouse | IgG2a | kappa | G155-178 | Y | N | NA | NA | NA | Spleen | Mouse | Balb/c, B6 | 92 | 0.5 | ug/test | B6 spleen | 90-100 |  |  |  |  | Balb/c Spleen | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Comment: CNR11435 Note: P/J, AKR, A/J, DBA/1, SJL and C3H are also negative mouse strains that can be used for troubleshooting
human | CD49b | Integrin alpha-2 | AK-7 (also known as AK7) | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | N | NA | NA | NA | LWB, resting platelets | Human | NA | 25.8 | 0.25 | ug/test | resting platelets | 80-100 |  |  |  |  | LWB-L | 0-20 | LWB-M | NA | LWB-G |  | N | NA | NA | NA | NA | [5 empty] | be sure to NOT make the platelet concentration too high; run samples in linear and gate on the population that has high light scatter SOP_Num: QC5500 for resting platelet preparation & platelet staining; QC5045 for LWB staining
mouse | CD40A | Pdgfra | APA5 | Rat | IgG2a | kappa | R35-39 | Y | N | NA | NA | NA | Cell line, Spleen | Mouse | C57BL/6 | 15 | 0.5 | ug/test | NIH/3T3 | 90-100 |  |  |  |  | B6 Spleen | 0-5 |  |  |  |  | N | NA | NA | NA | NA
human |  | TCR gamma delta | B1 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 8 | 2 | ug/test | LWB-L | [5 empty] | LWB-M |  | LWB-G |  |  |  | Y | CD3 | UCHT1 | NA | NA | [5 empty] | No LEGO/DUPLO ppt, besides single color staining to determine optimal concentration, 2-color vs CD3(UCHT1) is also required to confirm the specificity. ALL gama/delta TCR+ cells must be CD3+. It is expected to see two positive peaks on some donors Note: For the two color tubes, must mix the two antibodies first, then add blood in. Donor #4, 9 & 225 are good donors; collect 30,000-50,000
human | CD66 | CEA | B1.1/CD66 | Mouse | IgG2a | kappa | G155-178 | N | N | NA | NA | NA | LWB | Human | NA | 94 | 0.5 | ug/test | LWB-G | 80-100 |  |  |  |  | LWB-L | 1-50 |  |  |  |  | N | NA | NA | NA | NA
mouse |  | Valpha2 TCR | B20.1 | Rat | IgG2a | lambda | B39-4 | N | N | NA | NA | NA | Lymph nodes | Mouse | Balb/c | 197 | 0.25 | ug/test | CD4+CD8b+ | 5-15 |  |  |  |  | CD4-CD8b- | 0-5 |  |  |  |  | Y | CD4 + CD8b | GK1.5 + 53-5.8 | NA | NA | [5 empty] | Comment: CNR 11198 SOP_Num: QC5265
human |  | TCF V gamma 9 | B3 | Mouse | IgG1 | kappa | X40, MOPC-21 | [8 empty] | 347 | 0.25 | ug/test | [22 empty] | No entry in the Clone model System 053119 v1 master v3 file and No LEGo/DUPLO ppt available
mouse | CD23 | Fc gamma R II | B3B4 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Spleen | Mouse | Balb/c | 98 | 0.5 | ug/test | mIgM+ | 50-100 |  |  |  |  | mIgM- | 0-10 |  |  |  |  | Y | mIgM | DS-1 | NA | PE
human |  | Vdelta2 TCR | B6 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 793.9 | 0.25 | ug/test | LWB-L | 1-20 | [10 empty] | Y | hCD3 | UCHT-1 | NA | APC | [5 empty] | No entry in the Clone model System 053119 v1 master v3
human | CD66c | CEACAM6 | B6.2/CD66 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 47.8 | 0.5 | ug/test | LWB-G | 80-100 |  |  |  |  | LWB-L | 0-10 | LWB-M | NA |  |  | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3
human | CD47 | IAP | B6H12 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 60 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | Lyse first with Pharmlyse, then stain
human | CD16 | IgG Fc receptor III | B73.1 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 291 | 0.5 | ug/test | LWB-L | 5-33 | LWB-M | 0-100 | LWB-G | 0-100 | LWB-L (B cell) | [5 empty] | Y | CD56 | NCAM16.2 | NA | PE | [5 empty] | No entry in the Clone model System 053119 v1 master v3. Pos: NK, PB-L T cell subset, LWB-M (weak), LWB-G. Neg: LWB-L B cell subset
human | HLA-A2 |  | BB7.2 | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | LWB | Human | NA | 286.8 | 0.5 | ug/test | LWB-L | 90-100 | LWB-M | 80-100 | LWB-G | 90-100 | [6 empty] | Y | CD14 | M5E2 | NA | APC
human | CD103 | ITGAE | Ber-ACT8 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | Y | PBMC | PHA | 72H | LWB, PBMC | Human | NA | 20 | 0.125 | ug/test | PBMC PHA | 20-70 |  |  |  |  | LWB-L | 0-5 | LWB-M | 0-5 | LWB-G | 0-5 | N | NA | NA | NA | NA | [5 empty] | SOP_Num: QC/5043 for PBMC isolation; QC/5050 for PHA stimulation; QC/5045 for LWB staining
human | CD30 | TNFRSF8 | BerH8 (also known as Ber-H8) | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | Y | PBMC | PHA | 72H | LWB, PBMC | Human | NA | 4.8 | 0.5 | ug/test | PBMC PHA | 20-50 |  |  |  |  | LWB-L | 0-10 | LWB-M | 0-10 | LWB-G | 0-10 | N | NA | NA | NA | NA | [5 empty] | Note: changed Positive target from YT cell line to PHA act. as per ZC 11/9/00 (ranges adjusted 2/1/01 as per ZC)
human | CD294 | CRTH2 | BM16 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | LWB | Human | NA | 30.5 | 0.5 | ug/test | LWB-L | 1-10 | [10 empty] | Y | CD45 | HI30 | NA | APC | [5 empty] | 2-color staining with CD45 clone HI30 require; Be sure to set up compensation correctly, use the data from batch 86360 as an example. isotype does not need to be titered with Ab; collect 30,000 events in lymphocyte gate
mouse | CD249 | Lγ-51 | BP-1 | Mouse | IgG2a | kappa | R35-95 | Y | N | NA | NA | NA | Cell Line, Spleen | Mouse | Balb/c | 14 | 0.5 | ug/test | 70Z/3 cell line | 65-100 | NA | NA | NA | NA | BALB/c spleen | 0-10 | NA | NA | NA | NA | N | NA | NA | NA | NA
human | CD86 | B7.2 | BU63 | Mouse | IgG1 | kappa | [9 empty] | 26.5 | 0.25 | ug/test | [22 empty] | No entry in the Clone model System 053119 v1 master v3 file and No LEGo/DUPLO ppt available
mouse | IgA | Immunoglobulin heavy constant alpha | C10-1 | Rat | IgG1 | kappa | R3-34 | Y | N | NA | NA | NA | Bone Marrow | Rat | Lewis | 7.6 | 0.5 | ug/test | CD11b WT.5 purified as primary stained | 25-55 | NA | NA | NA | NA | Unstained | 0-5 | NA | NA | NA | NA | N | NA | NA | NA | NA
mouse | CD71 | Transferrin Receptor | C2 (also known as C2F2) | Rat | IgG1 | kappa | R3-35 | N | N | NA | NA | NA | Bone Marrow | Mouse | Balb/c | 233.1 | 0.125 | ug/test | Ter119+ Subset | 80-100 | NA | NA | NA | NA | Ter119- Subset | 5-25 | NA | NA | NA | NA | Y | Ter119 | Ter119 | 0.03 | APC
mouse | CD195 | Ccr5 | C34-3448 | Rat | IgG2c | kappa | A23-1 | Y | Y | mCCR5 Transfected | Sodium Butyrate | Over night | Cell line | Mouse | NA |  |  |  | mCCR5 Transfected stim cells | 50-100 | NA | NA | NA | NA | WT L1.2 cells | 0-5 | NA | NA | NA | NA | N | NA | NA | NA | NA
human | CD271 | NGFR | C40-1457 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | N | NA | NA | NA | Cell line | Human | NA | 148 | 0.5 | ug/test | SK-N-MC | 90-100 |  |  |  |  | HUT-78 | 0-5 |  |  |  |  | N | NA | NA | NA | NA
human | CD137 | 4-1BB Ligand | C65-485 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | N | NA | NA | NA | Cell line | Human | NA | 56 | 1 | ug/test | 293T hCD137L | 10-100 |  |  |  |  | 293T | NA |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file, Cells were prefixed by 4% Formaldehyde
mouse | CD223 | Lag3 | C9B7W | Rat | IgG1 | kappa | R3-34 | Y | Y | Spleen | CD3 | 72H | Spleen | Mouse | B6 | 43 | 1 | ug/test | Stim Spleen | 80-100 |  |  |  |  | Unstim Spleen | 0-5 |  |  |  |  | Y | CD3 | 17A2 | 1 | PE | [5 empty] | Stim: Platebound CD3 145-2C11 NA/LE stimulated for 3days Fcblocked.
human | CD1d | R3 | CD1d42 (also known as 42.1) | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 11.1 | 0.5 | ug/test | LWB-L | 5-50 | LWB-M | 50-100 |  |  | LWB-G | 0-20 |  |  |  |  | Y | CD14 | M5-E2 | 0.125 | APC
human | CD158b |  | CH-L | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | LWB | Human | NA | 303 | 0.5 | ug/test | LWB-L | 2-17 |  |  |  |  | LWB_M | 0-5 | LWB-G | 0-5 |  |  | Y | CD56 | B159 | 0.125 | APC | [5 empty] | FACSlyse
human | CD270 | HVEM | CW10 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 21.4 | 0.5 | ug/test | LWB-L | 60-100 | LWB-M | 10-100 | LWB-G | 1-100 | [6 empty] | N | NA | NA | NA | NA
mouse | CD183 | CXCR3 | CXCR3-173 | Armenian Hamster | IgG1 | kappa | A19-3 | N | N | NA | NA | NA | Spleen | Mouse | B6 | 23 | 1 | ug/test | CD62L- B6 Spleen | 4-15 |  |  |  |  | B6 Spleen | NA |  |  |  |  | Y | CD62L | MEL-14 | 0.06 | APC | [5 empty] | PosTest: B6 spl CD62L(clone MEL-14) ( PE:10/31/16; APC: 8/23/14) negative cells: 4-15%, use fc block NegTest: NA
non-human primate | CD45 | Pan Leukocytes | D058-1283 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | non-human primate | NA | 227 | 0.25 | ug/test | LWB-L | 95-100 | LWB-M | 95-100 | LWB-G | 95-100 | [6 empty] | N | NA | NA | NA | NA | [5 empty] | Comment: positive on Cyno, Rhesus, Baboon. FACSlyse
human | CD88 | C5alpha Receptor | D53-1473 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 5.7 | 2 | ug/test | LWB-M | 50-90 | LWB-G | 90-100 |  |  | LWB-L | 0-10 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | No entry in the Clone model System 053119 v1 master v3 file, incubation 45 min
mouse |  | Ly6A/E | D7 | Rat | IgG2a | kappa | R35-95 | N | Y | spleen | ConA | 48-72 | Spleen | Mouse | Balb/c | 78 | 0.5 | ug/test | Stim Spleen | 90-100 | Unstim spleen | 5-50 | [18 empty] | No LEGO/DUPLO data
mouse |  | LPAM-1 | DATK32 | Rat | IgG2a | kappa | R35-95 | Y | N | NA | NA | NA | LN, BM | Mouse | Balb/c | 4.8 | 0.25 | ug/test | LN | 25-65 | [10 empty] | Y | CD45R/B220, LPAM-1 | RA3-6B2 | NA | A647, PE-CF594 | [5 empty] | TDS: Bone marrow cells were stained with Alexa Fluor® 647 Rat Anti-Mouse CD45R/B220 antibody (Cat. No. 557683) and with either BD Horizon™ PE-CF594 Rat IgG2a, κ Isotype Control (Cat. No. 562302; Left Panel) or BD Horizon™ PE-CF594 Rat Anti-Mouse LPAM-1 antibody
human | CD62L | L-Selectin | DREG-56 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 79 | 0.5 | ug/test | LWB-L | 50-90 | LWB-M | 60-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA
human |  | HLA-C | DT-9 (also known as DT9) | Mouse | IgG2b | kappa | 27-35 | [8 empty] | 55 | 1 | ug/test | [22 empty] | No entry in the Clone model System 053119 v1 master v3 file and No LEGo/DUPLO ppt available
mouse | CD357 | GITR | DTA-1 | Rat | IgG2b | kappa | R35-38 | Y | N | NA | NA | NA | Spleen, BM | Mouse | Balb/c | 78.9 | 0.06 | ug/test | Spleen CD4+ CD25+ | 80-100 |  |  |  |  | BM | 0-10 |  |  |  |  | Y | CD4, CD25 | RM4-5, PC61 | 0.06, 0.25 | FITC, APC | [5 empty] | Fc Block, 7AAD. Collect 30,000 events, analyze data as histogram.
human | CD226 | DNAM-1 | DX11 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | Platelet depleted LWB | Human | NA | 33 | 0.25 | ug/test | LWB-L | 50-85 | LWB-M | 20-100 |  |  | LWB-G | 0-50 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | Refer to SOP 5315 for 5% HAbS blocking. DNAM-1 has been designed as CD226. MAb to CD226 initiate platelet activation and aggregation in a process dependent on the Fc receptor and protein kinaseC activation. So need to use 5% HABS (Aili ordered from sigma on 8/14/14) to block FcR before staining. Note: DO NOT USE DONOR #209
human | CD305 | LAIR-1 | DX26 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 41 | 0.5 | ug/test | LWB-L | 60-100 | LWB-M | 80-100 |  |  | LWB-G | 0-20 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | wash twice after staining
human |  | KIR-NKAT2 | DX27 | [12 empty] | 35.5 | 0.25 | ug/test | [22 empty] | No entry in the Clone model System 053119 v1 master v3 file, wrong DUPLO ppt attached in the BV421 Reference database v2
human | CD278 | ICOS | DX29 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | Y | PBMC | PHA | 72H | PBMC | Human | NA | 36 | 0.06 | ug/test | Stim PBMC | 40-100 |  |  |  |  | Unstim PBMC | 1-30 |  |  |  |  | N | NA | NA | NA | NA
human | CD35 |  | E11 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 26 | 0.125 | ug/test | LWB-L | 5-50 | LWB-M | 60-100 | LWB-G | 35-100 | [6 empty] | Y | CD14 | M5E2 |  | APC | [5 empty] | No concentration for the costaining in LEGO ppt. PosTest: PB-L (B, 10-15% of T cells), PB-M, PB-G NegTest: PB-L (T cells) Comment: Also positive on RBC; wash twice after staining
mouse |  | Ly-6A/E | E13-161.7 | Rat | IgG2a | kappa | R35-95 | N | Y | Balb/c Spleen | ConA | 72 | Spleen | Mouse | Balb/c | 337 | 1 | ug/test | Stim spleen | 90-100 |  |  |  |  | Unstim Spleen | 15-35 |  |  |  |  | N | NA | NA | NA | NA | [5 empty] | CNR 11358 note for troubleshooting: refer to the TDS for the protein expression on different strains.
mouse |  | SIGLEC-F | E50-2440 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | Bone Marrow | Mouse | Balb/c | 6 | 0.25 | ug/test | CD11b+ BM | 12-100 |  |  |  |  | CD11b- BM | 0-5 |  |  |  |  | Y | CD11b | M/70 | 0.06 | FITC | [5 empty] | Collect at least 20,000 cells and gate on viable cells to analyze data
human | CD326 | Ep-CAM | EBA-1 | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | N | NA | NA | NA | LWB, cell line | Human | NA | 237 | 0.5 | ug/test | SK-BR-3 | 90-100 |  |  |  |  | LWB-L | 0-10 | LWB-M | 0-10 | LWB-G | 0-10 | N | NA | NA | NA | NA
human | CD279 | PD-1 | EH12.1 (also known as EH12) | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 15.9 | 0.5 | ug/test | CD3+ LWB-L | 5-61 |  |  |  |  | LWB-G | 0-5 |  |  |  |  | Y | CD3 | UCHT1 | 0.25 | APC
human | CD1c |  | F10/21A3 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | LWB | Human | NA | 119 | 0.5 | ug/test | CD19+ LWB-L | 50-90 |  |  |  |  | LWB-G | 0-10 |  |  |  |  | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | 2-color staining with CD19 (HIB19) required; use CD19 for gating, analyze using histograms
human |  | BETA 7 INTEGRIN | FIB504 | Rat | IgG2a | kappa | R35-95 | N | N | NA | NA | NA | LWB | Human | NA | 19 | 0.25 | ug/test | LWB-L | 30-70 | LWB-M |  |  |  | LWB-G | [5 empty] | N | NA | NA | NA | NA | [5 empty] | Comment: PB-M was not transferred as part of QC specs from R&D.
human | CD32 | Fc gamma R2 | FLI8.26 (also known as 8.26) | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | LWB | Human | NA | 44 | 1 | ug/test | LWB-M | 80-100 | LWB-G | 40-100 |  |  | LWB-L | 0-10 |  |  |  |  | Y | CD14 | M5E2 | 0.125 | APC | [5 empty] | collect 2,000 events in monocyte gate
human | CD69 |  | FN50 (also known as FN 50) | Mouse | IgG1 | kappa | X40, MOPC-21 | Y | Y | PBMC | PHA | 24H | PBMC, LWB | Human | NA | 299.4 | 0.25 | ug/test | Stim PBMC | 75-100 |  |  |  |  | LWB-L | 1-50 | LWB-M | 1-90 | LWB-G |  | N | NA | NA | NA | NA | [5 empty] | Prefer to use TPA+A23187 stimulated PBMC since overnight stimulated PBMC with PHA is very sticky.
mouse | CD70 |  | FR70 | Rat | IgG2b | kappa | R35-38 | N | Y | Balbc/c Spleen | LPS | 72H | Spleen | Mouse | Balb/c | 2.3 | 1 | ug/test | Stim spleen | 30-70 |  |  |  |  | Unstim Spleen | 0-5 |  |  |  |  | Y | CD45R/B220 | RA3-6B2 | 0.06 | FITC
human |  | IgG | G18-145 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | PBMC | Human | NA | 144 | 0.5 | ug/test | CD19+ PBMC-L | 1-5 | [10 empty] | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | PBMC cultured overnight, counter stain with CD198 HIB19 in RPMI
human |  | IgM | G20-127 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | PBMC | Human | NA | 5 | 0.25 | ug/test | CD19+ PBMC-L | 1-20 | [10 empty] | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | PBMC cultured overnight, counter stain with CD198 HIB19 in RPMI
human |  | Ig Kappa | G20-193 | Mouse | IgG1 | kappa | X40, MOPC-21 | N | N | NA | NA | NA | PBMC | Human | NA | 136 | 0.03 | ug/test | PBMC-L | 1-20 | [10 empty] | Y | CD19 | HIB19 | 0.125 | APC | [5 empty] | PBMC cultured overnight, counter stain with CD198 HIB19 in RPMI
human | CD44 |  | G44-26 (also known as C26) | Mouse | IgG2b | kappa | 27-35 | N | N | NA | NA | NA | LWB | Human | NA | 40 | 1 | ug/test | LWB-L | 90-100 | LWB-M | 90-100 | LWB-G | 90-100 | [6 empty] | N | NA | NA | NA | NA
G46-2.6
G46-6
G8.8
GA-R2 (HIR2)
GIR-208
GK1.5
GL1
GL3
GR20
H1.2F3
H194-112
H35-17.2
H57-597
H5C6
Ha31/8
HA58
HB15e
HB7
HI100
HI10a
HIB22
hIL4R-M57
HIL-7R-M21
HIM3-4
HIP1
HIP8
HIS24
HIT3a
HL3
HLy9.1.25
HM β1-1
HM48-1
HMα2
HP-3D9
HP-3G10
IA10
IA6-2 (also known as δ-IA6-2)
ICRF44 (also known as 44)
II/41
IM7
IP26 (also known as IP26A)
J168-540
J43
JDC-12
JM7A4 (also known as 7A4)
Jo2
JOVI.1
L01.1
L106
L128
L133.1
L138 (also known as Leu-M7)
L17F12
L272
L293
L303.1 (also known as L303)
L306.4
L307.4 (also known as L307)
L60
LB-2
LG.3A10
LN2 (also known as LN-2)
LS132.1D9 (also known as 1D9)
M1/69
M1/70
M17/4
M5/114.15.2 (also known as M5/114)
M-A251
M-A261
M-A712
MABTNFR1-B1
M-B371
MD22
ME-9F1
MEC 13.3
MEL-14
MI15
MIH1
MIH18
MIH4
MIH5
Mik-β3
MJ7/18
ML5
MR1
MRC OX-104
M-T477
M-T701
MWReg30
MY31
MφP9 (also known as MφP-9)
N418
NCAM16.2 (also known as NCAM 16)
NEU 24.7
NOK-1
OKT3
OX-1
OX-33
OX-35
OX-38
OX-39
OX-41
OX-42
OX-6
OX-62
OX-7 (also known as OX7)
OX-8
OX-86
P1H12
p282 (H19)
p30-15
p44-8
P84
PK136
PO3
R1-2
R12-3
R139
R19-15
R19-760
R2-40
R26-46
R40-82
R6-60.2
RA3-6B2
RB6-8C5
RF8B2
RIK-2
RM4-4
RM4-5
rmC5-3
RMP1-30
RMV-7
RPA-2.10
RUU-PL7F12
S5.2
S7
SF1-1.1
SJ25C1 (also known as SJ25-C1)
SK11 (also known as Anti-Leu-8)
SK7 (also known as Leu-4)
SKII.4
SR84
T21
T38-320
T45-2342
T47-530
TER-119
TM-β1
TRAP1 (also known as TRAP-1)
TÜ12
Tu39 (also known as TÜ39)
TU66 (also known as Tü 66, Tü66)
TUGh4
TX24
TY25
U21-1283
U23-56
U29-93
UCHL1
V24-785
V27-580
V65
V7.1
VIM5 (also known as VIM-5)
VI-PL2 (also known as VIPL2)
W6B3C1 (also known as W6B3)
WM53 (also known as WM-53)
WM59 (also known as WM-59)
X54-5/7.1
X56
YB5.B8
ZM3.8
αR1 (also known as Alpha-R1)
Note on D147: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Cannot find the clone in the V3 Master DB